CMS Configurator User Manual

V0.1.0-rc1

- User Interface General

Main Project Icons

New Project/Open/Save/Config Error

Configuration menu

- Configuration Menu

IO Configuration

Tank configuration

Channel List

Alarm List

Config Error List

- IO Configuration

Serial Port Basic setup

Serial Port Protocol Setup

Currently only Modbus Master/Modbus Slave

- IO Configuration Modbus Master

Add Modbus slave

Basic Modbus Master setup

- IO Configuration Modbus Master – Add Slave

Modbus slave address

Board type (ZB-ANA, ZB-HART)

Slave list

@click = slave popup dialog

‘:’ : slave menu options

vcdfcds

Slave address change

Ports and port assignment status

- Tank configuration - main

Add new tank

Number of tanks currently configured

Height

Tank name

- Tank configuration – level

@click = alarm config popup

Delete level alarm

Tank level alarms

Add level alarm

Add level sensor

Basic tank and channel info

- Tank configuration – add level sensor

Select board and port

Level sensor list

‘-‘ = delete sensor

- Tank configuration –level alarm configuration

Alarm delay

Alarm set point

Alarm severity

High or low

Alarm name

- Tank configuration – pressure

BASICALLY the UI mechanism is same as level configuration

- Tank configuration – temperature

BASICALLY the UI mechanism is same as level configuration

Tank temperature decision mechanism (such as low, mid, high) will be determined later.

As of 0.1.0-rc1, this is just a template for future modification

- Channel List

- Alarm List

- Config Error List

Basically,

Error = RED

No Error = White or Blue

When there is any config error, saving project is disabled for safety reason. Fix the errors if there is any!!!